## Initial
PV_types | STC_eff | temp_coeff | pv_cost | O_M | kW_stc
Mono Bifacial | 0.225 | -0.0036 | 1230 | 20 | 0.36
Battery Data
BATTERY_TYPES | B_rt_eff | B_dod | B_cost_e | B_cost_p | B_power_rating | B_O_M | Energy_Life | Power_Life | Replacement_Fraction_E | Replacement_Fraction_P
Li-ion LFP | 0.875 | 0.9 | 487 | 530 | 1 | 9 | 10 | 10 | 0.85 | 0.8
Sweep Parameters
itc_pv | itc_bat | enable_sell | enforce_limit_flag | A_tot | offset_price | insolation_mult | sweep_file
0 | 0.3 | 1 | 1 | 3000 | 0 | 1 | src\microgrid\Launch_files\sweep_1_itc_area.csv
PV Sizing Limits
Metric | Value
Final Allowed System Size (kW) | 1010.988

## Summary
Run_ID | Configuration | itc_PV | itc_Bat | Utility Limit Applied? | Enable Sell Flag | Installed PV Size Limit (kW) | Max PV Array Area | Total Cost ($) | Number of Panels | Installed Area (m^2) | PV Capacity (kW) | Battery Energy Capacity (kWh) | Battery Power (kW) | Battery E/P Ratio (hrs) | PV Type | Battery Type | Switch Count | PV Cost ($/kW) | Battery Cost E ($/kWh) | Battery Cost P ($/kW) | Annualized PV Cost | Annualized Battery Cost E | Annualized Battery Cost P | Installed PV Cost | Installed Battery Energy Cost | Installed Battery Power Cost | Installed Battery Total Cost | Annual PV Generation (kWh) | Annual Grid Import (kWh) | Annual Grid Export (kWh) | Yearly Import Cost ($) | Off-Peak Import Cost ($) | On-Peak Import Cost ($) | Demand Charge ($) | Max Demand Charge ($) | Total Sale Revenue | Offset Price ($/tCO2) | Total Emissions Offset | Gross Emissions | Net Emissions | Abatement Credit ($)
Sweep_A3000 | Mono Bifacial_Li-ion LFP_ITC0.00_ITC0.30_Lim1.00_Sell1.00 | 0 | 0.3 | 1 | 1 | 1010.988 | 3000 | 633568.1845 | 625 | 1000 | 225 | 74.3936 | 12.3989 | 6 | Mono Bifacial | Li-ion LFP | 118 | 1230 | 487 | 530 | 116.22 | 55.39 | 49.23 | 26149.5 | 4120.6639 | 610.3998 | 4731.0637 | 361777.4954 | 6124429.3379 | 0 | 411676.7656 | 261970.9433 | 149705.8223 | 156913.3215 | 33026.4136 | 0 | 0 | 1519556.8019 | 31649010.7152 | 30129453.9133 | 0